Peralta Community College District

Facilities/IT Committee Meeting

Date of Meeting: 1/26/2023

Present: Eva Jennings, Shalamon Duke, Augustine Gill, Rachel Goodwin, Selwyn Montgomery, Saurav Pudasaini, Shuntel Nathaniel

Chair/Co-Chair:

Guests:

Facilitator/Recorder:

Absent:

| Agenda Item | Committee Goal | Strategic Planning Goal and/or Institutional Objective | Discussion | Follow-up Action | Decisions (Shared Agreement/ Resolved or Unresolved} |
| --- | --- | --- | --- | --- | --- |
| Meeting Called to Order |  |  | Time 2:10 pm |  |  |
| - Agenda Review |  |  | Approved |  |  |
| - Review of Minutes |  |  | Tabled |  |  |
| - AECOM (Sharon Serrano) |  |  | Sharon Serrano was unavailable but the following items was discussed NCLA Building - Art work complete except for braille on sign – closing out contract - AV equipment complete – closing out contract 860 HVAC - Contract going to board NTTC notice to proceed was given on 1/24/23 ADA Construction docs submitted to DSA Irrigation Controller Complete Aviation Sewer Pipe – replacing 140 ft line to start after the existing pumps are determined to be salvageable. Aviation phase 1 – Docs submitted to DSA Phase 2 – per Eva, the meeting has been set up. | Gill to follow up with Sharon on irrigation control. |  |
| - Update from District Facilities meeting (Rachel Goodwin) |  |  | Rachel to create and send out committee goals & assessment. |  |  |
| - Campus Facilities update (Shuntel & Augustine) |  |  | Heat at 860 – no timeline until ordered parts are received. Mold issues in the F-building are being addressed in two rooms. D bldg. elevator is currently out of order due to water/oil that needs to be flushed out. Concerns of parking in the fire lane by the library discussed. H bldg. thermostats not working. Recruitment for Head custodian happening now. | No parking signage will be placed in the fire lane |  |
| - Update from District Technology meeting and campus update (Saurav) |  |  | The first meeting will take place on 2/3/2023. The following items were discussed: - Smart classroom trainings - Lab equipment - Security cameras installed – COA does not have access to camera footage and must contact the security team. |  |  |
| - Other |  |  | Selwyn reported on the key situation at the district - no locksmith and district does not have access to the prior locksmith's system for tracking keys. ASTI requesting keys Employees requesting keys Dean Duke notes some employees request keyed access to A-building interior staff restroom. |  |  |
| - Adjournment |  |  | Time: N/A |  |  |

Minutes taken by: Shuntel Nathaniel

Attachments:  All documents and/or handouts for this meeting can be found at: